# Heating needs

Márton Kiss, MD

Table of contents

Introduction	1

Description of the data	1

Quantifying cold and long winters	1

Estimating total energy needs left on a given day	1

Gas consumption dashboard	1

Budget status	1

Remarks	1

References	1

# Introduction

In this document I’m describing a possible method for estimating the expected amount of energy required for heating left for a given year (or season as my billing cycle starts annually on August 1st, during the local summer).

I was motivated by my local billing method which has a huge discount for natural gas but only up to a given amount. I can supplement my heating with air conditioning, but that is more expensive than the discounted gas (but not more expensive than the full-priced gas). The efficiency of the air conditioning is also impacted by the outside temperature, COP (amount of heating / amount of electricity used) being higher when the outside temperature is higher.

Bottom line is, I’d like to use a given amount of natural gas for heating per year, and to top off the remaining heat requirements with air conditioning, preferably during autumn & spring.

For better or worse I feel that a considerable amount of my professional pride rests in tracking & determining the optimal method of heating.

# Description of the data

Meteorological data from 1995 onward is available for free at meteostat for my location in Budapest, Hungary (Europe) in excel. I haven’t figured out the API, and I am downloading a new excel periodically and concatenating them in R.

I have also read my gas meter regularly from 2018 onwards. To make it interesting, I don’t read the meter regularly, so the times between readings are between 2.4 hours and 188 days so the quality of the observations are not ideal.

# Quantifying cold and long winters

The amount of energy required for heating is the function of the outside temperature.

Therefore to predict the energy needs left in a given (heating) season, we should make a prediction about the expected amount of energy required until the end of the season.

Thankfully things seem to be straightforward if we assume that the inside temperature of the building should be constant (it’s not but bear with me). Assume 20°C (68°F). Heat loss is linear to the difference in temperature between the inside and outside temperatures link.

Therefore when the outside temperature is 16°C we would need 4x the power to heat the building than if it would be 19°C. Also, this amount of energy needed for these two days is the same that we would need for heating for 3 days if it were 20-5/3=18.33 degrees outside. In other words for a given heating season, we would add up the “missing degrees” until 20 for every day the outside temperature was less than 20°.

Figure 1: Cumulative heating energy needs by year

I personally like this approach very much, but of course we are neglecting:

- The effects of solar radiation, eg. sunlight heats up the building a bit,

- the building’s heat capacity, eg. after a hot summer’s day, it takes about 3 days for the walls to cool

For simplicity and to retain my sanity, lets also assume that at each timepoint (day), the distribution of ‘energy needs’ is normal.

I’d like to fit a linear model for the energy needs with a natural spline term containing the elapsed days. To capture the apparent heteroscedasticity, I’d opt for a generalized least squares model with an exponential variance structure (meaning that the residuals are understood to have a larger variance when more days have elapsed).

Figure 2: GLS model effects

As a “petty craftsman” kind of approach, I calculated standard deviations for all days and then fitted a linear model over it with a natural spline term capturing the evolution of standard deviation in heating needs over the course of a season.

Figure 3: Observed SD evolution over the season

Now we have a mean and a variance for the cumulative heating energy needs on any given day (at my location)! I can then assign a z-score for each result through the years.

Figure 4: Cumulative heating needs with mean and 95% CI bands

# Estimating total energy needs left on a given day

This is all well and good, and this translates to an estimated total energy need at the beginning of a season, but we are mainly interested in the conditional energy need for the total season if we have observed the cumulative energy need up to day “d”.

I start with investigating how do energy need values observed on a given day correlate to the total energy need for a given season. Specifically, what was the correlation between the z-scores of a given day vs. the last day in a season.

Figure 5: Correlation between mid-season z-score and end-of-season z-score

The spike around day 150 is due to leap years (probably); didn’t bother to fix it, as it didn’t bother the results much.

# Gas consumption dashboard

## Budget status

As of 2026-02-02: -13780 m³ consumed of 1729 m³ quota (-797.0%%)

As of 2026-02-02: -13708 m³ consumed of 1729 m³ quota (-792.8%%)

As of 2026-02-02: -13596 m³ consumed of 1729 m³ quota (-786.4%%)

As of 2026-02-02: -13562 m³ consumed of 1729 m³ quota (-784.4%%)

As of 2026-02-02: -13514 m³ consumed of 1729 m³ quota (-781.6%%)

As of 2026-02-02: -13502 m³ consumed of 1729 m³ quota (-780.9%%)

As of 2026-02-02: -13485 m³ consumed of 1729 m³ quota (-779.9%%)

As of 2026-02-02: -13445 m³ consumed of 1729 m³ quota (-777.6%%)

As of 2026-02-02: -13419 m³ consumed of 1729 m³ quota (-776.1%%)

As of 2026-02-02: -13393 m³ consumed of 1729 m³ quota (-774.6%%)

As of 2026-02-02: -13382 m³ consumed of 1729 m³ quota (-774.0%%)

As of 2026-02-02: -13341 m³ consumed of 1729 m³ quota (-771.6%%)

As of 2026-02-02: -13301 m³ consumed of 1729 m³ quota (-769.3%%)

As of 2026-02-02: -13268 m³ consumed of 1729 m³ quota (-767.4%%)

As of 2026-02-02: -13166 m³ consumed of 1729 m³ quota (-761.5%%)

As of 2026-02-02: -13152 m³ consumed of 1729 m³ quota (-760.7%%)

As of 2026-02-02: -13005 m³ consumed of 1729 m³ quota (-752.2%%)

As of 2026-02-02: -12900 m³ consumed of 1729 m³ quota (-746.1%%)

As of 2026-02-02: -12844 m³ consumed of 1729 m³ quota (-742.8%%)

As of 2026-02-02: -12756 m³ consumed of 1729 m³ quota (-737.7%%)

As of 2026-02-02: -12693 m³ consumed of 1729 m³ quota (-734.1%%)

As of 2026-02-02: -12682 m³ consumed of 1729 m³ quota (-733.5%%)

As of 2026-02-02: -12634 m³ consumed of 1729 m³ quota (-730.7%%)

As of 2026-02-02: -12552 m³ consumed of 1729 m³ quota (-726.0%%)

As of 2026-02-02: -12531 m³ consumed of 1729 m³ quota (-724.8%%)

As of 2026-02-02: -12497 m³ consumed of 1729 m³ quota (-722.8%%)

As of 2026-02-02: -12487 m³ consumed of 1729 m³ quota (-722.2%%)

As of 2026-02-02: -12478 m³ consumed of 1729 m³ quota (-721.7%%)

As of 2026-02-02: -12453 m³ consumed of 1729 m³ quota (-720.2%%)

As of 2026-02-02: -12444 m³ consumed of 1729 m³ quota (-719.7%%)

As of 2026-02-02: -12384 m³ consumed of 1729 m³ quota (-716.2%%)

As of 2026-02-02: -12362 m³ consumed of 1729 m³ quota (-715.0%%)

As of 2026-02-02: -12314 m³ consumed of 1729 m³ quota (-712.2%%)

As of 2026-02-02: -12267 m³ consumed of 1729 m³ quota (-709.5%%)

As of 2026-02-02: -12258 m³ consumed of 1729 m³ quota (-709.0%%)

As of 2026-02-02: -12233 m³ consumed of 1729 m³ quota (-707.5%%)

As of 2026-02-02: -12172 m³ consumed of 1729 m³ quota (-704.0%%)

As of 2026-02-02: -12107 m³ consumed of 1729 m³ quota (-700.2%%)

As of 2026-02-02: -12030 m³ consumed of 1729 m³ quota (-695.8%%)

As of 2026-02-02: -11994 m³ consumed of 1729 m³ quota (-693.7%%)

As of 2026-02-02: -11986 m³ consumed of 1729 m³ quota (-693.2%%)

As of 2026-02-02: -11945 m³ consumed of 1729 m³ quota (-690.9%%)

As of 2026-02-02: -11929 m³ consumed of 1729 m³ quota (-689.9%%)

As of 2026-02-02: -11880 m³ consumed of 1729 m³ quota (-687.1%%)

As of 2026-02-02: -11784 m³ consumed of 1729 m³ quota (-681.6%%)

As of 2026-02-02: -11756 m³ consumed of 1729 m³ quota (-679.9%%)

As of 2026-02-02: -11756 m³ consumed of 1729 m³ quota (-679.9%%)

As of 2026-02-02: -11749 m³ consumed of 1729 m³ quota (-679.5%%)

As of 2026-02-02: -11741 m³ consumed of 1729 m³ quota (-679.0%%)

As of 2026-02-02: -11661 m³ consumed of 1729 m³ quota (-674.4%%)

As of 2026-02-02: -11607 m³ consumed of 1729 m³ quota (-671.3%%)

As of 2026-02-02: -11470 m³ consumed of 1729 m³ quota (-663.4%%)

As of 2026-02-02: -11423 m³ consumed of 1729 m³ quota (-660.6%%)

As of 2026-02-02: -11201 m³ consumed of 1729 m³ quota (-647.8%%)

As of 2026-02-02: -10860 m³ consumed of 1729 m³ quota (-628.1%%)

As of 2026-02-02: -10670 m³ consumed of 1729 m³ quota (-617.1%%)

As of 2026-02-02: -10560 m³ consumed of 1729 m³ quota (-610.8%%)

As of 2026-02-02: -10430 m³ consumed of 1729 m³ quota (-603.3%%)

As of 2026-02-02: -10335 m³ consumed of 1729 m³ quota (-597.8%%)

As of 2026-02-02: -10116 m³ consumed of 1729 m³ quota (-585.1%%)

As of 2026-02-02: -9935 m³ consumed of 1729 m³ quota (-574.6%%)

As of 2026-02-02: -9899 m³ consumed of 1729 m³ quota (-572.5%%)

As of 2026-02-02: -9899 m³ consumed of 1729 m³ quota (-572.5%%)

As of 2026-02-02: -9869 m³ consumed of 1729 m³ quota (-570.8%%)

As of 2026-02-02: -9655 m³ consumed of 1729 m³ quota (-558.4%%)

As of 2026-02-02: -9622 m³ consumed of 1729 m³ quota (-556.5%%)

As of 2026-02-02: -9606 m³ consumed of 1729 m³ quota (-555.6%%)

As of 2026-02-02: -9424 m³ consumed of 1729 m³ quota (-545.1%%)

As of 2026-02-02: -9416 m³ consumed of 1729 m³ quota (-544.6%%)

As of 2026-02-02: -9405 m³ consumed of 1729 m³ quota (-544.0%%)

As of 2026-02-02: -9400 m³ consumed of 1729 m³ quota (-543.7%%)

As of 2026-02-02: -9388 m³ consumed of 1729 m³ quota (-543.0%%)

As of 2026-02-02: -9382 m³ consumed of 1729 m³ quota (-542.6%%)

As of 2026-02-02: -9368 m³ consumed of 1729 m³ quota (-541.8%%)

As of 2026-02-02: -9331 m³ consumed of 1729 m³ quota (-539.7%%)

As of 2026-02-02: -9317 m³ consumed of 1729 m³ quota (-538.8%%)

As of 2026-02-02: -9303 m³ consumed of 1729 m³ quota (-538.1%%)

As of 2026-02-02: -9285 m³ consumed of 1729 m³ quota (-537.0%%)

As of 2026-02-02: -9273 m³ consumed of 1729 m³ quota (-536.3%%)

As of 2026-02-02: -9238 m³ consumed of 1729 m³ quota (-534.3%%)

As of 2026-02-02: -9195 m³ consumed of 1729 m³ quota (-531.8%%)

As of 2026-02-02: -9107 m³ consumed of 1729 m³ quota (-526.7%%)

As of 2026-02-02: -8941 m³ consumed of 1729 m³ quota (-517.1%%)

As of 2026-02-02: -8708 m³ consumed of 1729 m³ quota (-503.7%%)

As of 2026-02-02: -8197 m³ consumed of 1729 m³ quota (-474.1%%)

As of 2026-02-02: -7881 m³ consumed of 1729 m³ quota (-455.8%%)

As of 2026-02-02: -7416 m³ consumed of 1729 m³ quota (-428.9%%)

As of 2026-02-02: -7412 m³ consumed of 1729 m³ quota (-428.7%%)

As of 2026-02-02: -7405 m³ consumed of 1729 m³ quota (-428.3%%)

As of 2026-02-02: -7401 m³ consumed of 1729 m³ quota (-428.0%%)

As of 2026-02-02: -7395 m³ consumed of 1729 m³ quota (-427.7%%)

As of 2026-02-02: -7387 m³ consumed of 1729 m³ quota (-427.2%%)

As of 2026-02-02: -7385 m³ consumed of 1729 m³ quota (-427.1%%)

As of 2026-02-02: -7381 m³ consumed of 1729 m³ quota (-426.9%%)

As of 2026-02-02: -7376 m³ consumed of 1729 m³ quota (-426.6%%)

As of 2026-02-02: -7364 m³ consumed of 1729 m³ quota (-425.9%%)

As of 2026-02-02: -7361 m³ consumed of 1729 m³ quota (-425.7%%)

As of 2026-02-02: -7348 m³ consumed of 1729 m³ quota (-425.0%%)

As of 2026-02-02: -7341 m³ consumed of 1729 m³ quota (-424.6%%)

As of 2026-02-02: -7333 m³ consumed of 1729 m³ quota (-424.1%%)

As of 2026-02-02: -7326 m³ consumed of 1729 m³ quota (-423.7%%)

As of 2026-02-02: -7319 m³ consumed of 1729 m³ quota (-423.3%%)

As of 2026-02-02: -7310 m³ consumed of 1729 m³ quota (-422.8%%)

As of 2026-02-02: -7302 m³ consumed of 1729 m³ quota (-422.3%%)

As of 2026-02-02: -7295 m³ consumed of 1729 m³ quota (-421.9%%)

As of 2026-02-02: -7281 m³ consumed of 1729 m³ quota (-421.1%%)

As of 2026-02-02: -7275 m³ consumed of 1729 m³ quota (-420.8%%)

As of 2026-02-02: -7268 m³ consumed of 1729 m³ quota (-420.4%%)

As of 2026-02-02: -7261 m³ consumed of 1729 m³ quota (-419.9%%)

As of 2026-02-02: -7255 m³ consumed of 1729 m³ quota (-419.6%%)

As of 2026-02-02: -7251 m³ consumed of 1729 m³ quota (-419.4%%)

As of 2026-02-02: -7246 m³ consumed of 1729 m³ quota (-419.1%%)

As of 2026-02-02: -7240 m³ consumed of 1729 m³ quota (-418.8%%)

As of 2026-02-02: -7232 m³ consumed of 1729 m³ quota (-418.3%%)

As of 2026-02-02: -7225 m³ consumed of 1729 m³ quota (-417.9%%)

As of 2026-02-02: -7216 m³ consumed of 1729 m³ quota (-417.4%%)

As of 2026-02-02: -7208 m³ consumed of 1729 m³ quota (-416.9%%)

As of 2026-02-02: -7197 m³ consumed of 1729 m³ quota (-416.3%%)

As of 2026-02-02: -7191 m³ consumed of 1729 m³ quota (-415.9%%)

As of 2026-02-02: -7163 m³ consumed of 1729 m³ quota (-414.3%%)

As of 2026-02-02: -7105 m³ consumed of 1729 m³ quota (-410.9%%)

As of 2026-02-02: -7068 m³ consumed of 1729 m³ quota (-408.8%%)

As of 2026-02-02: -7058 m³ consumed of 1729 m³ quota (-408.2%%)

As of 2026-02-02: -7031 m³ consumed of 1729 m³ quota (-406.6%%)

As of 2026-02-02: -6974 m³ consumed of 1729 m³ quota (-403.4%%)

As of 2026-02-02: -6915 m³ consumed of 1729 m³ quota (-399.9%%)

As of 2026-02-02: -6881 m³ consumed of 1729 m³ quota (-398.0%%)

As of 2026-02-02: -6824 m³ consumed of 1729 m³ quota (-394.7%%)

As of 2026-02-02: -6758 m³ consumed of 1729 m³ quota (-390.9%%)

As of 2026-02-02: -6722 m³ consumed of 1729 m³ quota (-388.8%%)

As of 2026-02-02: -6679 m³ consumed of 1729 m³ quota (-386.3%%)

As of 2026-02-02: -6644 m³ consumed of 1729 m³ quota (-384.2%%)

As of 2026-02-02: -6512 m³ consumed of 1729 m³ quota (-376.6%%)

As of 2026-02-02: -6472 m³ consumed of 1729 m³ quota (-374.3%%)

As of 2026-02-02: -6407 m³ consumed of 1729 m³ quota (-370.5%%)

As of 2026-02-02: -6371 m³ consumed of 1729 m³ quota (-368.5%%)

As of 2026-02-02: -6225 m³ consumed of 1729 m³ quota (-360.1%%)

As of 2026-02-02: -6188 m³ consumed of 1729 m³ quota (-357.9%%)

As of 2026-02-02: -6169 m³ consumed of 1729 m³ quota (-356.8%%)

As of 2026-02-02: -6057 m³ consumed of 1729 m³ quota (-350.3%%)

As of 2026-02-02: -6004 m³ consumed of 1729 m³ quota (-347.2%%)

As of 2026-02-02: -5995 m³ consumed of 1729 m³ quota (-346.7%%)

As of 2026-02-02: -5914 m³ consumed of 1729 m³ quota (-342.1%%)

As of 2026-02-02: -5781 m³ consumed of 1729 m³ quota (-334.4%%)

As of 2026-02-02: -5697 m³ consumed of 1729 m³ quota (-329.5%%)

As of 2026-02-02: -5592 m³ consumed of 1729 m³ quota (-323.4%%)

As of 2026-02-02: -5455 m³ consumed of 1729 m³ quota (-315.5%%)

As of 2026-02-02: -5375 m³ consumed of 1729 m³ quota (-310.9%%)

As of 2026-02-02: -5328 m³ consumed of 1729 m³ quota (-308.1%%)

As of 2026-02-02: -5253 m³ consumed of 1729 m³ quota (-303.8%%)

As of 2026-02-02: -5219 m³ consumed of 1729 m³ quota (-301.8%%)

As of 2026-02-02: -5184 m³ consumed of 1729 m³ quota (-299.8%%)

As of 2026-02-02: -5174 m³ consumed of 1729 m³ quota (-299.2%%)

As of 2026-02-02: -5170 m³ consumed of 1729 m³ quota (-299.0%%)

As of 2026-02-02: -5163 m³ consumed of 1729 m³ quota (-298.6%%)

As of 2026-02-02: -5136 m³ consumed of 1729 m³ quota (-297.0%%)

As of 2026-02-02: -5126 m³ consumed of 1729 m³ quota (-296.5%%)

As of 2026-02-02: -5116 m³ consumed of 1729 m³ quota (-295.9%%)

As of 2026-02-02: -5110 m³ consumed of 1729 m³ quota (-295.5%%)

As of 2026-02-02: -5106 m³ consumed of 1729 m³ quota (-295.3%%)

As of 2026-02-02: -5103 m³ consumed of 1729 m³ quota (-295.2%%)

As of 2026-02-02: -5099 m³ consumed of 1729 m³ quota (-294.9%%)

As of 2026-02-02: -5099 m³ consumed of 1729 m³ quota (-294.9%%)

As of 2026-02-02: -5097 m³ consumed of 1729 m³ quota (-294.8%%)

As of 2026-02-02: -5095 m³ consumed of 1729 m³ quota (-294.7%%)

As of 2026-02-02: -5094 m³ consumed of 1729 m³ quota (-294.6%%)

As of 2026-02-02: -5093 m³ consumed of 1729 m³ quota (-294.5%%)

As of 2026-02-02: -5089 m³ consumed of 1729 m³ quota (-294.3%%)

As of 2026-02-02: -5087 m³ consumed of 1729 m³ quota (-294.2%%)

As of 2026-02-02: -5084 m³ consumed of 1729 m³ quota (-294.0%%)

As of 2026-02-02: -5081 m³ consumed of 1729 m³ quota (-293.9%%)

As of 2026-02-02: -5080 m³ consumed of 1729 m³ quota (-293.8%%)

As of 2026-02-02: -5076 m³ consumed of 1729 m³ quota (-293.6%%)

As of 2026-02-02: -5075 m³ consumed of 1729 m³ quota (-293.5%%)

As of 2026-02-02: -5073 m³ consumed of 1729 m³ quota (-293.4%%)

As of 2026-02-02: -5071 m³ consumed of 1729 m³ quota (-293.3%%)

As of 2026-02-02: -5070 m³ consumed of 1729 m³ quota (-293.2%%)

As of 2026-02-02: -5069 m³ consumed of 1729 m³ quota (-293.2%%)

As of 2026-02-02: -5067 m³ consumed of 1729 m³ quota (-293.1%%)

As of 2026-02-02: -5065 m³ consumed of 1729 m³ quota (-292.9%%)

As of 2026-02-02: -5063 m³ consumed of 1729 m³ quota (-292.8%%)

As of 2026-02-02: -5061 m³ consumed of 1729 m³ quota (-292.7%%)

As of 2026-02-02: -5058 m³ consumed of 1729 m³ quota (-292.6%%)

As of 2026-02-02: -5057 m³ consumed of 1729 m³ quota (-292.5%%)

As of 2026-02-02: -5053 m³ consumed of 1729 m³ quota (-292.2%%)

As of 2026-02-02: -5050 m³ consumed of 1729 m³ quota (-292.1%%)

As of 2026-02-02: -5048 m³ consumed of 1729 m³ quota (-292.0%%)

As of 2026-02-02: -5046 m³ consumed of 1729 m³ quota (-291.8%%)

As of 2026-02-02: -5044 m³ consumed of 1729 m³ quota (-291.7%%)

As of 2026-02-02: -5041 m³ consumed of 1729 m³ quota (-291.5%%)

As of 2026-02-02: -5039 m³ consumed of 1729 m³ quota (-291.4%%)

As of 2026-02-02: -5036 m³ consumed of 1729 m³ quota (-291.3%%)

As of 2026-02-02: -5034 m³ consumed of 1729 m³ quota (-291.1%%)

As of 2026-02-02: -5031 m³ consumed of 1729 m³ quota (-291.0%%)

As of 2026-02-02: -5028 m³ consumed of 1729 m³ quota (-290.8%%)

As of 2026-02-02: -5020 m³ consumed of 1729 m³ quota (-290.4%%)

As of 2026-02-02: -5019 m³ consumed of 1729 m³ quota (-290.3%%)

As of 2026-02-02: -5015 m³ consumed of 1729 m³ quota (-290.1%%)

As of 2026-02-02: -5012 m³ consumed of 1729 m³ quota (-289.9%%)

As of 2026-02-02: -5010 m³ consumed of 1729 m³ quota (-289.8%%)

As of 2026-02-02: -4997 m³ consumed of 1729 m³ quota (-289.0%%)

As of 2026-02-02: -4994 m³ consumed of 1729 m³ quota (-288.8%%)

As of 2026-02-02: -4990 m³ consumed of 1729 m³ quota (-288.6%%)

As of 2026-02-02: -4986 m³ consumed of 1729 m³ quota (-288.4%%)

As of 2026-02-02: -4976 m³ consumed of 1729 m³ quota (-287.8%%)

As of 2026-02-02: -4973 m³ consumed of 1729 m³ quota (-287.6%%)

As of 2026-02-02: -4964 m³ consumed of 1729 m³ quota (-287.1%%)

As of 2026-02-02: -4960 m³ consumed of 1729 m³ quota (-286.9%%)

As of 2026-02-02: -4951 m³ consumed of 1729 m³ quota (-286.3%%)

As of 2026-02-02: -4931 m³ consumed of 1729 m³ quota (-285.2%%)

As of 2026-02-02: -4916 m³ consumed of 1729 m³ quota (-284.3%%)

As of 2026-02-02: -4900 m³ consumed of 1729 m³ quota (-283.4%%)

As of 2026-02-02: -4894 m³ consumed of 1729 m³ quota (-283.0%%)

As of 2026-02-02: -4888 m³ consumed of 1729 m³ quota (-282.7%%)

As of 2026-02-02: -4880 m³ consumed of 1729 m³ quota (-282.2%%)

As of 2026-02-02: -4874 m³ consumed of 1729 m³ quota (-281.9%%)

As of 2026-02-02: -4866 m³ consumed of 1729 m³ quota (-281.4%%)

As of 2026-02-02: -4857 m³ consumed of 1729 m³ quota (-280.9%%)

As of 2026-02-02: -4835 m³ consumed of 1729 m³ quota (-279.7%%)

As of 2026-02-02: -4819 m³ consumed of 1729 m³ quota (-278.7%%)

As of 2026-02-02: -4809 m³ consumed of 1729 m³ quota (-278.2%%)

As of 2026-02-02: -4801 m³ consumed of 1729 m³ quota (-277.7%%)

As of 2026-02-02: -4794 m³ consumed of 1729 m³ quota (-277.3%%)

As of 2026-02-02: -4768 m³ consumed of 1729 m³ quota (-275.8%%)

As of 2026-02-02: -4735 m³ consumed of 1729 m³ quota (-273.9%%)

As of 2026-02-02: -4715 m³ consumed of 1729 m³ quota (-272.7%%)

As of 2026-02-02: -4703 m³ consumed of 1729 m³ quota (-272.0%%)

As of 2026-02-02: -4636 m³ consumed of 1729 m³ quota (-268.1%%)

As of 2026-02-02: -4559 m³ consumed of 1729 m³ quota (-263.7%%)

As of 2026-02-02: -4546 m³ consumed of 1729 m³ quota (-262.9%%)

As of 2026-02-02: -4481 m³ consumed of 1729 m³ quota (-259.2%%)

As of 2026-02-02: -4409 m³ consumed of 1729 m³ quota (-255.0%%)

As of 2026-02-02: -4362 m³ consumed of 1729 m³ quota (-252.3%%)

As of 2026-02-02: -4320 m³ consumed of 1729 m³ quota (-249.8%%)

As of 2026-02-02: -4239 m³ consumed of 1729 m³ quota (-245.2%%)

As of 2026-02-02: -4200 m³ consumed of 1729 m³ quota (-242.9%%)

As of 2026-02-02: -4149 m³ consumed of 1729 m³ quota (-240.0%%)

As of 2026-02-02: -4108 m³ consumed of 1729 m³ quota (-237.6%%)

As of 2026-02-02: -4060 m³ consumed of 1729 m³ quota (-234.8%%)

As of 2026-02-02: -3971 m³ consumed of 1729 m³ quota (-229.7%%)

As of 2026-02-02: -3924 m³ consumed of 1729 m³ quota (-226.9%%)

As of 2026-02-02: -3899 m³ consumed of 1729 m³ quota (-225.5%%)

As of 2026-02-02: -3799 m³ consumed of 1729 m³ quota (-219.7%%)

As of 2026-02-02: -3764 m³ consumed of 1729 m³ quota (-217.7%%)

As of 2026-02-02: -3746 m³ consumed of 1729 m³ quota (-216.7%%)

As of 2026-02-02: -3717 m³ consumed of 1729 m³ quota (-215.0%%)

As of 2026-02-02: -3691 m³ consumed of 1729 m³ quota (-213.5%%)

As of 2026-02-02: -3602 m³ consumed of 1729 m³ quota (-208.3%%)

As of 2026-02-02: -3573 m³ consumed of 1729 m³ quota (-206.7%%)

As of 2026-02-02: -3560 m³ consumed of 1729 m³ quota (-205.9%%)

As of 2026-02-02: -3559 m³ consumed of 1729 m³ quota (-205.9%%)

As of 2026-02-02: -3549 m³ consumed of 1729 m³ quota (-205.3%%)

As of 2026-02-02: -3536 m³ consumed of 1729 m³ quota (-204.5%%)

As of 2026-02-02: -3530 m³ consumed of 1729 m³ quota (-204.1%%)

As of 2026-02-02: -3523 m³ consumed of 1729 m³ quota (-203.7%%)

As of 2026-02-02: -3520 m³ consumed of 1729 m³ quota (-203.6%%)

As of 2026-02-02: -3520 m³ consumed of 1729 m³ quota (-203.6%%)

As of 2026-02-02: -3505 m³ consumed of 1729 m³ quota (-202.7%%)

As of 2026-02-02: -3487 m³ consumed of 1729 m³ quota (-201.7%%)

As of 2026-02-02: -3483 m³ consumed of 1729 m³ quota (-201.4%%)

As of 2026-02-02: -3476 m³ consumed of 1729 m³ quota (-201.0%%)

As of 2026-02-02: -3474 m³ consumed of 1729 m³ quota (-201.0%%)

As of 2026-02-02: -3474 m³ consumed of 1729 m³ quota (-200.9%%)

As of 2026-02-02: -3472 m³ consumed of 1729 m³ quota (-200.8%%)

As of 2026-02-02: -3471 m³ consumed of 1729 m³ quota (-200.8%%)

As of 2026-02-02: -3469 m³ consumed of 1729 m³ quota (-200.6%%)

As of 2026-02-02: -3454 m³ consumed of 1729 m³ quota (-199.8%%)

As of 2026-02-02: -3444 m³ consumed of 1729 m³ quota (-199.2%%)

As of 2026-02-02: -3440 m³ consumed of 1729 m³ quota (-199.0%%)

As of 2026-02-02: -3440 m³ consumed of 1729 m³ quota (-199.0%%)

As of 2026-02-02: -3430 m³ consumed of 1729 m³ quota (-198.4%%)

As of 2026-02-02: -3408 m³ consumed of 1729 m³ quota (-197.1%%)

As of 2026-02-02: -3404 m³ consumed of 1729 m³ quota (-196.9%%)

As of 2026-02-02: -3397 m³ consumed of 1729 m³ quota (-196.5%%)

As of 2026-02-02: -3392 m³ consumed of 1729 m³ quota (-196.2%%)

As of 2026-02-02: -3378 m³ consumed of 1729 m³ quota (-195.4%%)

As of 2026-02-02: -3354 m³ consumed of 1729 m³ quota (-194.0%%)

As of 2026-02-02: -3321 m³ consumed of 1729 m³ quota (-192.1%%)

As of 2026-02-02: -3311 m³ consumed of 1729 m³ quota (-191.5%%)

As of 2026-02-02: -3188 m³ consumed of 1729 m³ quota (-184.4%%)

As of 2026-02-02: -3048 m³ consumed of 1729 m³ quota (-176.3%%)

As of 2026-02-02: -3026 m³ consumed of 1729 m³ quota (-175.0%%)

As of 2026-02-02: -3001 m³ consumed of 1729 m³ quota (-173.6%%)

As of 2026-02-02: -2965 m³ consumed of 1729 m³ quota (-171.5%%)

As of 2026-02-02: -2885 m³ consumed of 1729 m³ quota (-166.8%%)

As of 2026-02-02: -2829 m³ consumed of 1729 m³ quota (-163.6%%)

As of 2026-02-02: -2791 m³ consumed of 1729 m³ quota (-161.4%%)

As of 2026-02-02: -2787 m³ consumed of 1729 m³ quota (-161.2%%)

As of 2026-02-02: -2707 m³ consumed of 1729 m³ quota (-156.6%%)

As of 2026-02-02: -2701 m³ consumed of 1729 m³ quota (-156.2%%)

As of 2026-02-02: -2615 m³ consumed of 1729 m³ quota (-151.3%%)

As of 2026-02-02: -2446 m³ consumed of 1729 m³ quota (-141.5%%)

As of 2026-02-02: -2303 m³ consumed of 1729 m³ quota (-133.2%%)

As of 2026-02-02: -2119 m³ consumed of 1729 m³ quota (-122.6%%)

As of 2026-02-02: -2003 m³ consumed of 1729 m³ quota (-115.8%%)

As of 2026-02-02: -1995 m³ consumed of 1729 m³ quota (-115.4%%)

As of 2026-02-02: -1929 m³ consumed of 1729 m³ quota (-111.5%%)

As of 2026-02-02: -1913 m³ consumed of 1729 m³ quota (-110.6%%)

As of 2026-02-02: -1844 m³ consumed of 1729 m³ quota (-106.7%%)

As of 2026-02-02: -1780 m³ consumed of 1729 m³ quota (-103.0%%)

As of 2026-02-02: -1763 m³ consumed of 1729 m³ quota (-102.0%%)

As of 2026-02-02: -1741 m³ consumed of 1729 m³ quota (-100.7%%)

As of 2026-02-02: -1734 m³ consumed of 1729 m³ quota (-100.3%%)

As of 2026-02-02: -1724 m³ consumed of 1729 m³ quota (-99.7%%)

As of 2026-02-02: -1662 m³ consumed of 1729 m³ quota (-96.1%%)

As of 2026-02-02: -1643 m³ consumed of 1729 m³ quota (-95.0%%)

As of 2026-02-02: -1608 m³ consumed of 1729 m³ quota (-93.0%%)

As of 2026-02-02: -1587 m³ consumed of 1729 m³ quota (-91.8%%)

As of 2026-02-02: -1560 m³ consumed of 1729 m³ quota (-90.2%%)

As of 2026-02-02: -1554 m³ consumed of 1729 m³ quota (-89.9%%)

As of 2026-02-02: -1494 m³ consumed of 1729 m³ quota (-86.4%%)

As of 2026-02-02: -1442 m³ consumed of 1729 m³ quota (-83.4%%)

As of 2026-02-02: -1415 m³ consumed of 1729 m³ quota (-81.8%%)

As of 2026-02-02: -1358 m³ consumed of 1729 m³ quota (-78.5%%)

As of 2026-02-02: -1312 m³ consumed of 1729 m³ quota (-75.9%%)

As of 2026-02-02: -1258 m³ consumed of 1729 m³ quota (-72.8%%)

As of 2026-02-02: -1015 m³ consumed of 1729 m³ quota (-58.7%%)

As of 2026-02-02: -944 m³ consumed of 1729 m³ quota (-54.6%%)

As of 2026-02-02: -683 m³ consumed of 1729 m³ quota (-39.5%%)

As of 2026-02-02: -303 m³ consumed of 1729 m³ quota (-17.5%%)

As of 2026-02-02: 101 m³ consumed of 1729 m³ quota (5.9%%)

As of 2026-02-02: 109 m³ consumed of 1729 m³ quota (6.3%%)

As of 2026-02-02: 130 m³ consumed of 1729 m³ quota (7.5%%)

As of 2026-02-02: 199 m³ consumed of 1729 m³ quota (11.5%%)

As of 2026-02-02: 303 m³ consumed of 1729 m³ quota (17.5%%)

As of 2026-02-02: 445 m³ consumed of 1729 m³ quota (25.7%%)

As of 2026-02-02: 521 m³ consumed of 1729 m³ quota (30.2%%)

As of 2026-02-02: 987 m³ consumed of 1729 m³ quota (57.1%%)

Remaining: 15509 m³ for 179 days (86.5 m³/day budget)

Remaining: 15437 m³ for 179 days (86.1 m³/day budget)

Remaining: 15325 m³ for 179 days (85.5 m³/day budget)

Remaining: 15291 m³ for 179 days (85.3 m³/day budget)

Remaining: 15243 m³ for 179 days (85.0 m³/day budget)

Remaining: 15231 m³ for 179 days (84.9 m³/day budget)

Remaining: 15214 m³ for 179 days (84.8 m³/day budget)

Remaining: 15174 m³ for 179 days (84.6 m³/day budget)

Remaining: 15148 m³ for 179 days (84.5 m³/day budget)

Remaining: 15122 m³ for 179 days (84.3 m³/day budget)

Remaining: 15111 m³ for 179 days (84.3 m³/day budget)

Remaining: 15070 m³ for 179 days (84.0 m³/day budget)

Remaining: 15030 m³ for 179 days (83.8 m³/day budget)

Remaining: 14997 m³ for 179 days (83.6 m³/day budget)

Remaining: 14895 m³ for 179 days (83.1 m³/day budget)

Remaining: 14881 m³ for 179 days (83.0 m³/day budget)

Remaining: 14734 m³ for 179 days (82.2 m³/day budget)

Remaining: 14629 m³ for 179 days (81.6 m³/day budget)

Remaining: 14573 m³ for 179 days (81.3 m³/day budget)

Remaining: 14485 m³ for 179 days (80.8 m³/day budget)

Remaining: 14422 m³ for 179 days (80.4 m³/day budget)

Remaining: 14411 m³ for 179 days (80.4 m³/day budget)

Remaining: 14363 m³ for 179 days (80.1 m³/day budget)

Remaining: 14281 m³ for 179 days (79.6 m³/day budget)

Remaining: 14260 m³ for 179 days (79.5 m³/day budget)

Remaining: 14226 m³ for 179 days (79.3 m³/day budget)

Remaining: 14216 m³ for 179 days (79.3 m³/day budget)

Remaining: 14207 m³ for 179 days (79.2 m³/day budget)

Remaining: 14182 m³ for 179 days (79.1 m³/day budget)

Remaining: 14173 m³ for 179 days (79.0 m³/day budget)

Remaining: 14113 m³ for 179 days (78.7 m³/day budget)

Remaining: 14091 m³ for 179 days (78.6 m³/day budget)

Remaining: 14043 m³ for 179 days (78.3 m³/day budget)

Remaining: 13996 m³ for 179 days (78.0 m³/day budget)

Remaining: 13987 m³ for 179 days (78.0 m³/day budget)

Remaining: 13962 m³ for 179 days (77.9 m³/day budget)

Remaining: 13901 m³ for 179 days (77.5 m³/day budget)

Remaining: 13836 m³ for 179 days (77.1 m³/day budget)

Remaining: 13759 m³ for 179 days (76.7 m³/day budget)

Remaining: 13723 m³ for 179 days (76.5 m³/day budget)

Remaining: 13715 m³ for 179 days (76.5 m³/day budget)

Remaining: 13674 m³ for 179 days (76.2 m³/day budget)

Remaining: 13658 m³ for 179 days (76.2 m³/day budget)

Remaining: 13609 m³ for 179 days (75.9 m³/day budget)

Remaining: 13513 m³ for 179 days (75.3 m³/day budget)

Remaining: 13485 m³ for 179 days (75.2 m³/day budget)

Remaining: 13485 m³ for 179 days (75.2 m³/day budget)

Remaining: 13478 m³ for 179 days (75.2 m³/day budget)

Remaining: 13470 m³ for 179 days (75.1 m³/day budget)

Remaining: 13390 m³ for 179 days (74.7 m³/day budget)

Remaining: 13336 m³ for 179 days (74.4 m³/day budget)

Remaining: 13199 m³ for 179 days (73.6 m³/day budget)

Remaining: 13152 m³ for 179 days (73.3 m³/day budget)

Remaining: 12930 m³ for 179 days (72.1 m³/day budget)

Remaining: 12589 m³ for 179 days (70.2 m³/day budget)

Remaining: 12399 m³ for 179 days (69.1 m³/day budget)

Remaining: 12289 m³ for 179 days (68.5 m³/day budget)

Remaining: 12159 m³ for 179 days (67.8 m³/day budget)

Remaining: 12064 m³ for 179 days (67.3 m³/day budget)

Remaining: 11845 m³ for 179 days (66.0 m³/day budget)

Remaining: 11664 m³ for 179 days (65.0 m³/day budget)

Remaining: 11628 m³ for 179 days (64.8 m³/day budget)

Remaining: 11628 m³ for 179 days (64.8 m³/day budget)

Remaining: 11598 m³ for 179 days (64.7 m³/day budget)

Remaining: 11384 m³ for 179 days (63.5 m³/day budget)

Remaining: 11351 m³ for 179 days (63.3 m³/day budget)

Remaining: 11335 m³ for 179 days (63.2 m³/day budget)

Remaining: 11153 m³ for 179 days (62.2 m³/day budget)

Remaining: 11145 m³ for 179 days (62.1 m³/day budget)

Remaining: 11134 m³ for 179 days (62.1 m³/day budget)

Remaining: 11129 m³ for 179 days (62.1 m³/day budget)

Remaining: 11117 m³ for 179 days (62.0 m³/day budget)

Remaining: 11111 m³ for 179 days (62.0 m³/day budget)

Remaining: 11097 m³ for 179 days (61.9 m³/day budget)

Remaining: 11060 m³ for 179 days (61.7 m³/day budget)

Remaining: 11046 m³ for 179 days (61.6 m³/day budget)

Remaining: 11032 m³ for 179 days (61.5 m³/day budget)

Remaining: 11014 m³ for 179 days (61.4 m³/day budget)

Remaining: 11002 m³ for 179 days (61.3 m³/day budget)

Remaining: 10967 m³ for 179 days (61.1 m³/day budget)

Remaining: 10924 m³ for 179 days (60.9 m³/day budget)

Remaining: 10836 m³ for 179 days (60.4 m³/day budget)

Remaining: 10670 m³ for 179 days (59.5 m³/day budget)

Remaining: 10437 m³ for 179 days (58.2 m³/day budget)

Remaining: 9926 m³ for 179 days (55.3 m³/day budget)

Remaining: 9610 m³ for 179 days (53.6 m³/day budget)

Remaining: 9145 m³ for 179 days (51.0 m³/day budget)

Remaining: 9141 m³ for 179 days (51.0 m³/day budget)

Remaining: 9134 m³ for 179 days (50.9 m³/day budget)

Remaining: 9130 m³ for 179 days (50.9 m³/day budget)

Remaining: 9124 m³ for 179 days (50.9 m³/day budget)

Remaining: 9116 m³ for 179 days (50.8 m³/day budget)

Remaining: 9114 m³ for 179 days (50.8 m³/day budget)

Remaining: 9110 m³ for 179 days (50.8 m³/day budget)

Remaining: 9105 m³ for 179 days (50.8 m³/day budget)

Remaining: 9093 m³ for 179 days (50.7 m³/day budget)

Remaining: 9090 m³ for 179 days (50.7 m³/day budget)

Remaining: 9077 m³ for 179 days (50.6 m³/day budget)

Remaining: 9070 m³ for 179 days (50.6 m³/day budget)

Remaining: 9062 m³ for 179 days (50.5 m³/day budget)

Remaining: 9055 m³ for 179 days (50.5 m³/day budget)

Remaining: 9048 m³ for 179 days (50.5 m³/day budget)

Remaining: 9039 m³ for 179 days (50.4 m³/day budget)

Remaining: 9031 m³ for 179 days (50.4 m³/day budget)

Remaining: 9024 m³ for 179 days (50.3 m³/day budget)

Remaining: 9010 m³ for 179 days (50.2 m³/day budget)

Remaining: 9004 m³ for 179 days (50.2 m³/day budget)

Remaining: 8997 m³ for 179 days (50.2 m³/day budget)

Remaining: 8990 m³ for 179 days (50.1 m³/day budget)

Remaining: 8984 m³ for 179 days (50.1 m³/day budget)

Remaining: 8980 m³ for 179 days (50.1 m³/day budget)

Remaining: 8975 m³ for 179 days (50.0 m³/day budget)

Remaining: 8969 m³ for 179 days (50.0 m³/day budget)

Remaining: 8961 m³ for 179 days (50.0 m³/day budget)

Remaining: 8954 m³ for 179 days (49.9 m³/day budget)

Remaining: 8945 m³ for 179 days (49.9 m³/day budget)

Remaining: 8937 m³ for 179 days (49.8 m³/day budget)

Remaining: 8926 m³ for 179 days (49.8 m³/day budget)

Remaining: 8920 m³ for 179 days (49.7 m³/day budget)

Remaining: 8892 m³ for 179 days (49.6 m³/day budget)

Remaining: 8834 m³ for 179 days (49.3 m³/day budget)

Remaining: 8797 m³ for 179 days (49.1 m³/day budget)

Remaining: 8787 m³ for 179 days (49.0 m³/day budget)

Remaining: 8760 m³ for 179 days (48.8 m³/day budget)

Remaining: 8703 m³ for 179 days (48.5 m³/day budget)

Remaining: 8644 m³ for 179 days (48.2 m³/day budget)

Remaining: 8610 m³ for 179 days (48.0 m³/day budget)

Remaining: 8553 m³ for 179 days (47.7 m³/day budget)

Remaining: 8487 m³ for 179 days (47.3 m³/day budget)

Remaining: 8451 m³ for 179 days (47.1 m³/day budget)

Remaining: 8408 m³ for 179 days (46.9 m³/day budget)

Remaining: 8373 m³ for 179 days (46.7 m³/day budget)

Remaining: 8241 m³ for 179 days (46.0 m³/day budget)

Remaining: 8201 m³ for 179 days (45.7 m³/day budget)

Remaining: 8136 m³ for 179 days (45.4 m³/day budget)

Remaining: 8100 m³ for 179 days (45.2 m³/day budget)

Remaining: 7954 m³ for 179 days (44.4 m³/day budget)

Remaining: 7917 m³ for 179 days (44.1 m³/day budget)

Remaining: 7898 m³ for 179 days (44.0 m³/day budget)

Remaining: 7786 m³ for 179 days (43.4 m³/day budget)

Remaining: 7733 m³ for 179 days (43.1 m³/day budget)

Remaining: 7724 m³ for 179 days (43.1 m³/day budget)

Remaining: 7643 m³ for 179 days (42.6 m³/day budget)

Remaining: 7510 m³ for 179 days (41.9 m³/day budget)

Remaining: 7426 m³ for 179 days (41.4 m³/day budget)

Remaining: 7321 m³ for 179 days (40.8 m³/day budget)

Remaining: 7184 m³ for 179 days (40.1 m³/day budget)

Remaining: 7104 m³ for 179 days (39.6 m³/day budget)

Remaining: 7057 m³ for 179 days (39.3 m³/day budget)

Remaining: 6982 m³ for 179 days (38.9 m³/day budget)

Remaining: 6948 m³ for 179 days (38.7 m³/day budget)

Remaining: 6913 m³ for 179 days (38.5 m³/day budget)

Remaining: 6903 m³ for 179 days (38.5 m³/day budget)

Remaining: 6899 m³ for 179 days (38.5 m³/day budget)

Remaining: 6892 m³ for 179 days (38.4 m³/day budget)

Remaining: 6865 m³ for 179 days (38.3 m³/day budget)

Remaining: 6855 m³ for 179 days (38.2 m³/day budget)

Remaining: 6845 m³ for 179 days (38.2 m³/day budget)

Remaining: 6839 m³ for 179 days (38.1 m³/day budget)

Remaining: 6835 m³ for 179 days (38.1 m³/day budget)

Remaining: 6832 m³ for 179 days (38.1 m³/day budget)

Remaining: 6828 m³ for 179 days (38.1 m³/day budget)

Remaining: 6828 m³ for 179 days (38.1 m³/day budget)

Remaining: 6826 m³ for 179 days (38.1 m³/day budget)

Remaining: 6824 m³ for 179 days (38.1 m³/day budget)

Remaining: 6823 m³ for 179 days (38.0 m³/day budget)

Remaining: 6822 m³ for 179 days (38.0 m³/day budget)

Remaining: 6818 m³ for 179 days (38.0 m³/day budget)

Remaining: 6816 m³ for 179 days (38.0 m³/day budget)

Remaining: 6813 m³ for 179 days (38.0 m³/day budget)

Remaining: 6810 m³ for 179 days (38.0 m³/day budget)

Remaining: 6809 m³ for 179 days (38.0 m³/day budget)

Remaining: 6805 m³ for 179 days (37.9 m³/day budget)

Remaining: 6804 m³ for 179 days (37.9 m³/day budget)

Remaining: 6802 m³ for 179 days (37.9 m³/day budget)

Remaining: 6800 m³ for 179 days (37.9 m³/day budget)

Remaining: 6799 m³ for 179 days (37.9 m³/day budget)

Remaining: 6798 m³ for 179 days (37.9 m³/day budget)

Remaining: 6796 m³ for 179 days (37.9 m³/day budget)

Remaining: 6794 m³ for 179 days (37.9 m³/day budget)

Remaining: 6792 m³ for 179 days (37.9 m³/day budget)

Remaining: 6790 m³ for 179 days (37.9 m³/day budget)

Remaining: 6787 m³ for 179 days (37.8 m³/day budget)

Remaining: 6786 m³ for 179 days (37.8 m³/day budget)

Remaining: 6782 m³ for 179 days (37.8 m³/day budget)

Remaining: 6779 m³ for 179 days (37.8 m³/day budget)

Remaining: 6777 m³ for 179 days (37.8 m³/day budget)

Remaining: 6775 m³ for 179 days (37.8 m³/day budget)

Remaining: 6773 m³ for 179 days (37.8 m³/day budget)

Remaining: 6770 m³ for 179 days (37.7 m³/day budget)

Remaining: 6768 m³ for 179 days (37.7 m³/day budget)

Remaining: 6765 m³ for 179 days (37.7 m³/day budget)

Remaining: 6763 m³ for 179 days (37.7 m³/day budget)

Remaining: 6760 m³ for 179 days (37.7 m³/day budget)

Remaining: 6757 m³ for 179 days (37.7 m³/day budget)

Remaining: 6749 m³ for 179 days (37.6 m³/day budget)

Remaining: 6748 m³ for 179 days (37.6 m³/day budget)

Remaining: 6744 m³ for 179 days (37.6 m³/day budget)

Remaining: 6741 m³ for 179 days (37.6 m³/day budget)

Remaining: 6739 m³ for 179 days (37.6 m³/day budget)

Remaining: 6726 m³ for 179 days (37.5 m³/day budget)

Remaining: 6723 m³ for 179 days (37.5 m³/day budget)

Remaining: 6719 m³ for 179 days (37.5 m³/day budget)

Remaining: 6715 m³ for 179 days (37.4 m³/day budget)

Remaining: 6705 m³ for 179 days (37.4 m³/day budget)

Remaining: 6702 m³ for 179 days (37.4 m³/day budget)

Remaining: 6693 m³ for 179 days (37.3 m³/day budget)

Remaining: 6689 m³ for 179 days (37.3 m³/day budget)

Remaining: 6680 m³ for 179 days (37.2 m³/day budget)

Remaining: 6660 m³ for 179 days (37.1 m³/day budget)

Remaining: 6645 m³ for 179 days (37.1 m³/day budget)

Remaining: 6629 m³ for 179 days (37.0 m³/day budget)

Remaining: 6623 m³ for 179 days (36.9 m³/day budget)

Remaining: 6617 m³ for 179 days (36.9 m³/day budget)

Remaining: 6609 m³ for 179 days (36.9 m³/day budget)

Remaining: 6603 m³ for 179 days (36.8 m³/day budget)

Remaining: 6595 m³ for 179 days (36.8 m³/day budget)

Remaining: 6586 m³ for 179 days (36.7 m³/day budget)

Remaining: 6564 m³ for 179 days (36.6 m³/day budget)

Remaining: 6548 m³ for 179 days (36.5 m³/day budget)

Remaining: 6538 m³ for 179 days (36.5 m³/day budget)

Remaining: 6530 m³ for 179 days (36.4 m³/day budget)

Remaining: 6523 m³ for 179 days (36.4 m³/day budget)

Remaining: 6497 m³ for 179 days (36.2 m³/day budget)

Remaining: 6464 m³ for 179 days (36.0 m³/day budget)

Remaining: 6444 m³ for 179 days (35.9 m³/day budget)

Remaining: 6432 m³ for 179 days (35.9 m³/day budget)

Remaining: 6365 m³ for 179 days (35.5 m³/day budget)

Remaining: 6288 m³ for 179 days (35.1 m³/day budget)

Remaining: 6275 m³ for 179 days (35.0 m³/day budget)

Remaining: 6210 m³ for 179 days (34.6 m³/day budget)

Remaining: 6138 m³ for 179 days (34.2 m³/day budget)

Remaining: 6091 m³ for 179 days (34.0 m³/day budget)

Remaining: 6049 m³ for 179 days (33.7 m³/day budget)

Remaining: 5968 m³ for 179 days (33.3 m³/day budget)

Remaining: 5929 m³ for 179 days (33.1 m³/day budget)

Remaining: 5878 m³ for 179 days (32.8 m³/day budget)

Remaining: 5837 m³ for 179 days (32.5 m³/day budget)

Remaining: 5789 m³ for 179 days (32.3 m³/day budget)

Remaining: 5700 m³ for 179 days (31.8 m³/day budget)

Remaining: 5653 m³ for 179 days (31.5 m³/day budget)

Remaining: 5628 m³ for 179 days (31.4 m³/day budget)

Remaining: 5528 m³ for 179 days (30.8 m³/day budget)

Remaining: 5493 m³ for 179 days (30.6 m³/day budget)

Remaining: 5475 m³ for 179 days (30.5 m³/day budget)

Remaining: 5446 m³ for 179 days (30.4 m³/day budget)

Remaining: 5420 m³ for 179 days (30.2 m³/day budget)

Remaining: 5331 m³ for 179 days (29.7 m³/day budget)

Remaining: 5302 m³ for 179 days (29.6 m³/day budget)

Remaining: 5289 m³ for 179 days (29.5 m³/day budget)

Remaining: 5288 m³ for 179 days (29.5 m³/day budget)

Remaining: 5278 m³ for 179 days (29.4 m³/day budget)

Remaining: 5265 m³ for 179 days (29.4 m³/day budget)

Remaining: 5259 m³ for 179 days (29.3 m³/day budget)

Remaining: 5252 m³ for 179 days (29.3 m³/day budget)

Remaining: 5249 m³ for 179 days (29.3 m³/day budget)

Remaining: 5249 m³ for 179 days (29.3 m³/day budget)

Remaining: 5234 m³ for 179 days (29.2 m³/day budget)

Remaining: 5216 m³ for 179 days (29.1 m³/day budget)

Remaining: 5212 m³ for 179 days (29.1 m³/day budget)

Remaining: 5205 m³ for 179 days (29.0 m³/day budget)

Remaining: 5203 m³ for 179 days (29.0 m³/day budget)

Remaining: 5203 m³ for 179 days (29.0 m³/day budget)

Remaining: 5201 m³ for 179 days (29.0 m³/day budget)

Remaining: 5200 m³ for 179 days (29.0 m³/day budget)

Remaining: 5198 m³ for 179 days (29.0 m³/day budget)

Remaining: 5183 m³ for 179 days (28.9 m³/day budget)

Remaining: 5173 m³ for 179 days (28.8 m³/day budget)

Remaining: 5169 m³ for 179 days (28.8 m³/day budget)

Remaining: 5169 m³ for 179 days (28.8 m³/day budget)

Remaining: 5159 m³ for 179 days (28.8 m³/day budget)

Remaining: 5137 m³ for 179 days (28.6 m³/day budget)

Remaining: 5133 m³ for 179 days (28.6 m³/day budget)

Remaining: 5126 m³ for 179 days (28.6 m³/day budget)

Remaining: 5121 m³ for 179 days (28.6 m³/day budget)

Remaining: 5107 m³ for 179 days (28.5 m³/day budget)

Remaining: 5083 m³ for 179 days (28.3 m³/day budget)

Remaining: 5050 m³ for 179 days (28.2 m³/day budget)

Remaining: 5040 m³ for 179 days (28.1 m³/day budget)

Remaining: 4917 m³ for 179 days (27.4 m³/day budget)

Remaining: 4777 m³ for 179 days (26.6 m³/day budget)

Remaining: 4755 m³ for 179 days (26.5 m³/day budget)

Remaining: 4730 m³ for 179 days (26.4 m³/day budget)

Remaining: 4694 m³ for 179 days (26.2 m³/day budget)

Remaining: 4614 m³ for 179 days (25.7 m³/day budget)

Remaining: 4558 m³ for 179 days (25.4 m³/day budget)

Remaining: 4520 m³ for 179 days (25.2 m³/day budget)

Remaining: 4516 m³ for 179 days (25.2 m³/day budget)

Remaining: 4436 m³ for 179 days (24.7 m³/day budget)

Remaining: 4430 m³ for 179 days (24.7 m³/day budget)

Remaining: 4344 m³ for 179 days (24.2 m³/day budget)

Remaining: 4175 m³ for 179 days (23.3 m³/day budget)

Remaining: 4032 m³ for 179 days (22.5 m³/day budget)

Remaining: 3848 m³ for 179 days (21.5 m³/day budget)

Remaining: 3732 m³ for 179 days (20.8 m³/day budget)

Remaining: 3724 m³ for 179 days (20.8 m³/day budget)

Remaining: 3658 m³ for 179 days (20.4 m³/day budget)

Remaining: 3642 m³ for 179 days (20.3 m³/day budget)

Remaining: 3573 m³ for 179 days (19.9 m³/day budget)

Remaining: 3509 m³ for 179 days (19.6 m³/day budget)

Remaining: 3492 m³ for 179 days (19.5 m³/day budget)

Remaining: 3470 m³ for 179 days (19.4 m³/day budget)

Remaining: 3463 m³ for 179 days (19.3 m³/day budget)

Remaining: 3453 m³ for 179 days (19.3 m³/day budget)

Remaining: 3391 m³ for 179 days (18.9 m³/day budget)

Remaining: 3372 m³ for 179 days (18.8 m³/day budget)

Remaining: 3337 m³ for 179 days (18.6 m³/day budget)

Remaining: 3316 m³ for 179 days (18.5 m³/day budget)

Remaining: 3289 m³ for 179 days (18.3 m³/day budget)

Remaining: 3283 m³ for 179 days (18.3 m³/day budget)

Remaining: 3223 m³ for 179 days (18.0 m³/day budget)

Remaining: 3171 m³ for 179 days (17.7 m³/day budget)

Remaining: 3144 m³ for 179 days (17.5 m³/day budget)

Remaining: 3087 m³ for 179 days (17.2 m³/day budget)

Remaining: 3041 m³ for 179 days (17.0 m³/day budget)

Remaining: 2987 m³ for 179 days (16.7 m³/day budget)

Remaining: 2744 m³ for 179 days (15.3 m³/day budget)

Remaining: 2673 m³ for 179 days (14.9 m³/day budget)

Remaining: 2412 m³ for 179 days (13.5 m³/day budget)

Remaining: 2032 m³ for 179 days (11.3 m³/day budget)

Remaining: 1628 m³ for 179 days (9.1 m³/day budget)

Remaining: 1620 m³ for 179 days (9.0 m³/day budget)

Remaining: 1599 m³ for 179 days (8.9 m³/day budget)

Remaining: 1530 m³ for 179 days (8.5 m³/day budget)

Remaining: 1426 m³ for 179 days (8.0 m³/day budget)

Remaining: 1284 m³ for 179 days (7.2 m³/day budget)

Remaining: 1208 m³ for 179 days (6.7 m³/day budget)

Remaining: 742 m³ for 179 days (4.1 m³/day budget)

Figure 6: Quota year budget: gas consumed vs. linear budget

# Remarks

### Other information regarding the document’s compilation

Analyses were conducted using the R Statistical language (version 4.5.2; R Core Team, 2025) on Windows 11 x64 (build 26200), using the packages iterators (version 1.0.14; Analytics R, Weston S, 2022), lme4 (version 1.1.38; Bates D et al., 2015), Matrix (version 1.7.4; Bates D et al., 2025), boot (version 1.3.32; Canty A, Ripley B, 2025), doParallel (version 1.0.17; Corporation M, Weston S, 2022), lubridate (version 1.9.5; Grolemund G, Wickham H, 2011), forecast (version 9.0.1; Hyndman R et al., 2026), ggpubr (version 0.6.2; Kassambara A, 2025), SparseM (version 1.84.2; Koenker R, 2024), quantreg (version 6.1; Koenker R, 2025), foreach (version 1.5.2; Microsoft, Weston S, 2022), here (version 1.0.2; Müller K, 2025), nlme (version 3.1.168; Pinheiro J et al., 2025), splines2 (version 0.5.4; Wang W, Yan J, 2025), ggplot2 (version 4.0.2; Wickham H, 2016), readxl (version 1.4.5; Wickham H, Bryan J, 2025), dplyr (version 1.2.0; Wickham H et al., 2026) and readr (version 2.1.6; Wickham H et al., 2025).

## References

- Analytics R, Weston S (2022). iterators: Provides Iterator Construct. doi:10.32614/CRAN.package.iterators https://doi.org/10.32614/CRAN.package.iterators, R package version 1.0.14, https://CRAN.R-project.org/package=iterators.

- Bates D, Mächler M, Bolker B, Walker S (2015). “Fitting Linear Mixed-Effects Models Using lme4.” Journal of Statistical Software, 67(1), 1-48. doi:10.18637/jss.v067.i01 https://doi.org/10.18637/jss.v067.i01.

- Bates D, Maechler M, Jagan M (2025). Matrix: Sparse and Dense Matrix Classes and Methods. doi:10.32614/CRAN.package.Matrix https://doi.org/10.32614/CRAN.package.Matrix, R package version 1.7-4, https://CRAN.R-project.org/package=Matrix.

- Canty A, Ripley B (2025). boot: Bootstrap Functions. doi:10.32614/CRAN.package.boot https://doi.org/10.32614/CRAN.package.boot, R package version 1.3-32, https://CRAN.R-project.org/package=boot. Davison A, Hinkley D (1997). Bootstrap Methods and Their Applications. Cambridge University Press, Cambridge. ISBN 0-521-57391-2, doi:10.1017/CBO9780511802843 https://doi.org/10.1017/CBO9780511802843.

- Corporation M, Weston S (2022). doParallel: Foreach Parallel Adaptor for the ‘parallel’ Package. doi:10.32614/CRAN.package.doParallel https://doi.org/10.32614/CRAN.package.doParallel, R package version 1.0.17, https://CRAN.R-project.org/package=doParallel.

- Grolemund G, Wickham H (2011). “Dates and Times Made Easy with lubridate.” Journal of Statistical Software, 40(3), 1-25. https://www.jstatsoft.org/v40/i03/.

- Hyndman R, Athanasopoulos G, Bergmeir C, Caceres G, Chhay L, O’Hara-Wild M, Petropoulos F, Razbash S, Wang E, Yasmeen F (2026). forecast: Forecasting functions for time series and linear models. doi:10.32614/CRAN.package.forecast https://doi.org/10.32614/CRAN.package.forecast, R package version 9.0.1, https://pkg.robjhyndman.com/forecast/. Hyndman RJ, Khandakar Y (2008). “Automatic time series forecasting: the forecast package for R.” Journal of Statistical Software, 27(3), 1-22. doi:10.18637/jss.v027.i03 https://doi.org/10.18637/jss.v027.i03.

- Kassambara A (2025). ggpubr: ‘ggplot2’ Based Publication Ready Plots. doi:10.32614/CRAN.package.ggpubr https://doi.org/10.32614/CRAN.package.ggpubr, R package version 0.6.2, https://CRAN.R-project.org/package=ggpubr.

- Koenker R (2024). SparseM: Sparse Linear Algebra. doi:10.32614/CRAN.package.SparseM https://doi.org/10.32614/CRAN.package.SparseM, R package version 1.84-2, https://CRAN.R-project.org/package=SparseM.

- Koenker R (2025). quantreg: Quantile Regression. doi:10.32614/CRAN.package.quantreg https://doi.org/10.32614/CRAN.package.quantreg, R package version 6.1, https://CRAN.R-project.org/package=quantreg.

- Microsoft, Weston S (2022). foreach: Provides Foreach Looping Construct. doi:10.32614/CRAN.package.foreach https://doi.org/10.32614/CRAN.package.foreach, R package version 1.5.2, https://CRAN.R-project.org/package=foreach.

- Müller K (2025). here: A Simpler Way to Find Your Files. doi:10.32614/CRAN.package.here https://doi.org/10.32614/CRAN.package.here, R package version 1.0.2, https://CRAN.R-project.org/package=here.

- Pinheiro J, Bates D, R Core Team (2025). nlme: Linear and Nonlinear Mixed Effects Models. doi:10.32614/CRAN.package.nlme https://doi.org/10.32614/CRAN.package.nlme, R package version 3.1-168, https://CRAN.R-project.org/package=nlme. Pinheiro JC, Bates DM (2000). Mixed-Effects Models in S and S-PLUS. Springer, New York. doi:10.1007/b98882 https://doi.org/10.1007/b98882.

- R Core Team (2025). R: A Language and Environment for Statistical Computing. R Foundation for Statistical Computing, Vienna, Austria. https://www.R-project.org/.

- Wang W, Yan J (2025). splines2: Regression Spline Functions and Classes. R package version 0.5.4, https://CRAN.R-project.org/package=splines2. Wang W, Yan J (2021). “Shape-Restricted Regression Splines with R Package splines2.” Journal of Data Science, 19(3), 498-517. doi:10.6339/21-JDS1020 https://doi.org/10.6339/21-JDS1020.

- Wickham H (2016). ggplot2: Elegant Graphics for Data Analysis. Springer-Verlag New York. ISBN 978-3-319-24277-4, https://ggplot2.tidyverse.org.

- Wickham H, Bryan J (2025). readxl: Read Excel Files. doi:10.32614/CRAN.package.readxl https://doi.org/10.32614/CRAN.package.readxl, R package version 1.4.5, https://CRAN.R-project.org/package=readxl.

- Wickham H, François R, Henry L, Müller K, Vaughan D (2026). dplyr: A Grammar of Data Manipulation. doi:10.32614/CRAN.package.dplyr https://doi.org/10.32614/CRAN.package.dplyr, R package version 1.2.0, https://CRAN.R-project.org/package=dplyr.

- Wickham H, Hester J, Bryan J (2025). readr: Read Rectangular Text Data. doi:10.32614/CRAN.package.readr https://doi.org/10.32614/CRAN.package.readr, R package version 2.1.6, https://CRAN.R-project.org/package=readr.

### Time of compilation

2026-03-25 13:17:45.904906